## MASTER
GENERAL | [13 empty] | Clean Service/Close on Trip/ Full Stroke | [23 empty] | Clean Service/Close on Trip/Tight Shutoff | [23 empty] | Clean Service/Open on Trip | [23 empty] | Severe Service/Close on Trip/ Full Stroke | [23 empty] | Severe Service/Close on Trip/Tight Shutoff | [23 empty] | Severe Service/Open on Trip
[14 empty] | Normal | [7 empty] | PVST/ STAT | [7 empty] | PVST/Dyn | [7 empty] | Normal | [7 empty] | PVST/ STAT | [7 empty] | PVST/Dyn | [7 empty] | Normal | [7 empty] | PVST/ STAT | [7 empty] | PVST/Dyn | [7 empty] | Normal | [7 empty] | PVST/ STAT | [7 empty] | PVST/Dyn | [7 empty] | Normal | [7 empty] | PVST/ STAT | [7 empty] | PVST/Dyn | [7 empty] | Normal | [7 empty] | PVST/ STAT | [7 empty] | PVST/Dyn
INDEX | ITEM | VERSION | MANUFACTURER | MODEL | VALVE TYPE | SEAT TYPE | ARCHITECTURE TYPE | ASSESSMENT | DATA SOURCE | USEFUL LIFE | REMARKS | HARDWARE FAULT TOLERANCE | SIL CAPABILITY | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%)
1 | Item 1 | 2013.1.02 (Item Version) | Generic (Item manufacturere) | ABC123 (Item Model) | Item Valve Type | metal-to-metal or Soft Seat (Item Seat Type) | A | Item Assessment | Item Data Source | 10 years | Item Remarks | 0 | 3 | 0 | 465 | 0 | 0 | 0 | 0 | 1610 | 77.6 | 214 | 251 | 0 | 0 | 0 | 0 | 1610 | 87.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1330 | 0 | 0 | 0 | 0 | 745 | 35.9 | 214 | 1120 | 0 | 0 | 0 | 0 | 745 | 46.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 320 | 0 | 145 | 0 | 0 | 1610 | 84.6 | 214 | 106 | 0 | 0 | 0 | 0 | 1610 | 94.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Item 2 | 2013.1.02 (Item Version) | Generic (Item manufacturere) | ABC123 (Item Model) | Item Valve Type | metal-to-metal or Soft Seat (Item Seat Type) | B | Item Assessment | Item Data Source | 10 years | Item Remarks | 1 | N/A | 0 | 492 | 0 | 0 | 0 | 0 | 1650 | 77 | 214 | 278 | 0 | 0 | 0 | 0 | 1650 | 87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1380 | 0 | 0 | 0 | 0 | 757 | 35.4 | 214 | 1170 | 0 | 0 | 0 | 0 | 757 | 45.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 320 | 0 | 172 | 0 | 0 | 1650 | 85.1 | 214 | 106 | 172 | 0 | 0 | 0 | 1650 | 95.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0