## Sheet1
| GENERAL | [12 empty] | T/C | [10 empty] | 2/3-Wire RTD | [10 empty] | 4-Wire RTD
ITEM | ITEM | VERSION | MANUFACTURER | MODEL | MEASUREMENT TYPE | ANALOG/ DIGITAL | ARCHITECTURE TYPE | ASSESSMENT | DATA SOURCE | USEFUL LIFE | REMARKS | HARDWARE FAULT TOLERANCE | SIL CAPABILITY | FAIL Low | FAIL HIGH | FAIL DETECTED | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL Low | FAIL HIGH | FAIL DETECTED | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%) | FAIL Low | FAIL HIGH | FAIL DETECTED | FAIL DANGEROUS DETECTED | FAIL DANGEROUS UNDETECTED | FAIL SAFE DETECTED | FAIL SAFE UNDETECTED | FAIL ANNUNCIATION DETECTED | FAIL ANNUNCIATION UNDETECTED | FAIL No EFFECT | SFF (%)
1 | test | 2006.2.02 | Generic | test | Temperature | Analog | B | test | test | 50 years | test | 0 | 3 | 77 | 17 | 233 | 0 | 151 | 0 | 0 | 0 | 2 | 141 | 75.7 | 77 | 17 | 233 | 0 | 151 | 0 | 0 | 0 | 2 | 141 | 75.7 | 77 | 17 | 233 | 0 | 151 | 0 | 0 | 0 | 2 | 141 | 75.7
2 | Test 1 | 2016.2.02 | Generic | test | Temperature | Digital | A | test | test | 50 years | test | 1 | N/A | 78 | 22 | 213 | 0 | 34 | 0 | 0 | 0 | 6 | 118 | 92.8 | 78 | 22 | 213 | 0 | 34 | 0 | 0 | 0 | 6 | 118 | 92.8 | 78 | 22 | 213 | 0 | 34 | 0 | 0 | 0 | 6 | 118 | 92.8